Summary of Informal Discussion on TEAP Decision XXVII/4 Task Force Report for OEWG-37

Parties provided comments on this report and suggestions for TEAP’s second report under Decision XXVII/4 in an informal discussion session with TEAP, Thursday 7 April, 1-2.30 p.m. The comments and suggestions are summarized below. All these comments will be taken into consideration by the TEAP XXVII/4 Task Force within the timeline remaining to the Task Force to complete its second report for submission to OEWG-38.

Update on refrigerants

- The report should include updates and information on not-in-kind (NIK) technologies.

- Further consideration should also be provided with regards to safety. With regard to servicing, the report should address whether use of the alternatives including flammables would require specialized training, including under HAT conditions.

- A request was made for addressing criteria from paragraph 1(a) of the previous Decision XXVI/9, including addressing whether alternatives are “environmentally sound” in order to avoid having to revisit in the future decisions that are made today in selecting alternatives.

Testing of alternatives under high ambient temperature (HAT) conditions

- A Party that had proposed language for considering a HAT exemption in the contact group meeting offered to share the information to TEAP on the criteria and data used; the party also noted that it would welcome other alternative approaches.

- The section in the report that discussed the results of the alternatives testing under HAT conditions were actually positive, and this positive outcome should be better reflected in the executive summary of the report.

- A couple of parties suggested that it would be helpful if the report could include an overview of the status of the various alternatives based on the testing - not in additional discussion within the report but perhaps in a table format so key information would be in one place.

- A party asked for HAT considerations to include some additional uses including in industrial equipment, chillers, and other sub-sectors such as transport air conditioning; additional uses mentioned were cooling of mines in South Africa and propane-driven technologies in Australia.

Scenarios

- A party identified that some idea of the magnitudes of the present banks of HFCs would be helpful.

- A request was made on whether the TEAP reported annual production of HFCs could be provided by countries.

- A party suggested that the report should clarify that only certain HFCs were included in the production figures.

- With regard to the BAU, not all existing regulations were used so TEAP was requested to investigate whether the report could further consider these in addition to a number of corporate commitments and changes in national procurement regulations.

- A party requested whether the report could show a BAU scenario without any regulatory actions incorporated.

- Further clarification is needed on the estimated growth rates that were used compared to refrigerant demand growth.

- A request was made as to whether the impacts of a longer manufacturing conversion period of 18 years could be calculated and incorporated.

- The previous XXVI/9 report included estimated costs and emissions reductions for the various mitigation scenarios; a request was made to include these costs and benefits into this XXVII/4 report.

- A party requested whether the scenarios could show the demand on a regional basis.